[Organization Name]

# OT and Medical Device Inventory

ID-REG-004  |  Register  |  Asset Management (ID.AM)

How to Use This Template: Replace text in square brackets with your organization's details. Keep every Part A section, because each one is a minimum requirement. Use Part B to raise maturity. Delete the blue requirement boxes and this note before you issue the document. This template is a sample and is not legal advice; confirm items marked [VERIFY] with current Thai regulations before use.

# 1. Document Control

| Document ID | ID-REG-004 |
| --- | --- |
| Title | OT and Medical Device Inventory |
| Version | 1.0 |
| Status | Template (not approved) |
| Classification | Internal |
| Document Owner | Facilities Manager |
| Approver | Chief Information Officer (CIO) |
| Effective Date | [DD Month YYYY] |
| Review Cycle | Quarterly |
| Next Review | [DD Month YYYY] |

# 2. Document Profile

| Tier | Tier 4: Form, Register, Record, Report, and Template |
| --- | --- |
| Document Type | Register |
| CSF Function | Identify (ID) |
| CSF Category | Asset Management (ID.AM) |
| Level | Optional |
| Trigger | All |
| Basis | NIST SP 800-82 Rev. 3; IEC 80001-1 |
| ISO/IEC 27002 theme and tags | Organizational (A.5); tags: Technology, Evidence, OT and Medical Device |
| Package | Extended |

# 3. Revision History

| Version | Date | Description of Change | Prepared By | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | [DD Month YYYY] | Initial release | [Name, Role] | [Name, Role] |

# 4. Part A: Requirement Fields

## 4.1 Purpose

Requirement: State why the document exists and the outcome it supports.

Sample content

This inventory records operational technology (OT) and medical devices that connect to the network, with their software, support status, and network placement, so their specific risks can be managed (ID.AM-01, ID.AM-02).

## 4.2 Scope

Requirement: Define the units, people, systems, locations, and third parties covered, and state any exclusions.

Sample content

This register is used by the units and roles named in its parent document (ID-STD-001) and covers the activities that document defines.

## 4.3 Column Definitions

Requirement: Define every column, its meaning, and allowed values so entries stay consistent and comparable.

| Column | Description | Example |
| --- | --- | --- |
| Device ID | Unique tag. | MED-IMG-002 |
| Device type and manufacturer | Function and maker. |  |
| Location and owner | Department. |  |
| Embedded OS and version | As reported by the manufacturer. |  |
| Patch support | Manufacturer-certified patching available? |  |
| Network segment | VLAN or zone. |  |
| Remote vendor access | Method. |  |
| Clinical or safety criticality | High, Medium, Low. |  |

## 4.4 Sample Entries

| Device ID | Device type and manufacturer | Location and owner | Embedded OS and version | Patch support | Network segment | Remote vendor access | Clinical or safety criticality |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MED-IMG-002 |  |  |  |  |  |  |  |

## 4.5 Register Change Log

Requirement: Track changes to the register itself (additions, closures, and periodic reviews) so reviewers can see how it evolved.

| No. | Date | Description of Change | Prepared By |
| --- | --- | --- | --- |
| 1 | [DD Month YYYY] | [Entries added, changed, or closed; review completed] | [Name, Role] |

# 5. Part B: Best Practice

Use passive network discovery tools designed for medical and OT devices; active scans can disrupt them.

Obtain the Manufacturer Disclosure Statement for Medical Device Security (MDS2) form for each medical device model.

Have biomedical engineering and IT co-own the inventory.

## Common Mistakes to Avoid

Biomedical engineering tracks devices for maintenance only, with no network or software data.

# 6. Annex: Traceability and Related Documents

| NIST CSF 2.0 Subcategories | ID.AM-01: Inventories of hardware managed by the organization are maintained ID.AM-02: Inventories of software, services, and systems managed by the organization are maintained ID.AM-05: Assets are prioritized based on classification, criticality, resources, and impact on the mission |
| --- | --- |
| ISO/IEC 27001:2022 | Annex A.5.9 |
| NIST SP 800-53 Rev. 5 | CM-8 |
| Legal, Regulatory, and Other References | NIST SP 800-82 Rev. 3; IEC 80001-1 |
| Parent Documents | ID-STD-001: Asset Management Standard |
| Child Documents | None |