Chaophraya Medical Center (CMC)

# OT and Medical Device Inventory

ID-REG-004  |  Register  |  Asset Management (ID.AM)

About This Sample: This sample shows how Chaophraya Medical Center (CMC), a fictional private hospital group in Thailand, applies the template. CMC operates two hospitals with about 300 beds, 1,200 staff, and an IT team of 25. CMC is designated Critical Information Infrastructure (CII) in the public health sector and processes sensitive health data under the PDPA. All names, systems, vendors, and figures are fictional.

# 1. Document Control

| Document ID | ID-REG-004 |
| --- | --- |
| Title | OT and Medical Device Inventory |
| Version | 1.1 |
| Status | Approved |
| Classification | Internal |
| Document Owner | Facilities and Engineering Manager |
| Approver | Chief Information Officer (CIO) |
| Effective Date | 17 August 2026 |
| Review Cycle | Quarterly |
| Next Review | 17 August 2027 |

# 2. Document Profile

| Tier | Tier 4: Form, Register, Record, Report, and Template |
| --- | --- |
| Document Type | Register |
| CSF Function | Identify (ID) |
| CSF Category | Asset Management (ID.AM) |
| Level | Optional |
| Trigger | All |
| Basis | NIST SP 800-82 Rev. 3; IEC 80001-1 |
| ISO/IEC 27002 theme and tags | Organizational (A.5); tags: Technology, Evidence, OT and Medical Device |
| Package | Extended |
| Level for CMC | Optional (CMC triggers: PDPA, CII, Computer Crime Act service provider; ISO/IEC 27001 certification targeted for 2027) |

# 3. Revision History

| Version | Date | Description of Change | Prepared By | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | 21 September 2025 | Initial release under the CMC security program launched in January 2025. | Facilities and Engineering Manager | Chief Information Officer (CIO) |
| 1.1 | 17 August 2026 | Updated after the November 2025 internal audit (IA-2025-04) to close findings on asset and risk records. | Facilities and Engineering Manager | Chief Information Officer (CIO) |

# 4. Part A: Requirement Fields

## 4.1 Purpose

Requirement: State why the document exists and the outcome it supports.

Sample content

This inventory records operational technology (OT) and medical devices that connect to the network, with their software, support status, and network placement, so their specific risks can be managed (ID.AM-01, ID.AM-02).

## 4.2 Scope

Requirement: Define the units, people, systems, locations, and third parties covered, and state any exclusions.

Sample content

This register is used by the units and roles named in its parent document (ID-STD-001) and covers the activities that document defines.

## 4.3 Column Definitions

Requirement: Define every column, its meaning, and allowed values so entries stay consistent and comparable.

| Column | Description | Example |
| --- | --- | --- |
| Device ID | Unique tag. | MED-IMG-002 |
| Device type and manufacturer | Function and maker. |  |
| Location and owner | Department. |  |
| Embedded OS and version | As reported by the manufacturer. |  |
| Patch support | Manufacturer-certified patching available? |  |
| Network segment | VLAN or zone. |  |
| Remote vendor access | Method. |  |
| Clinical or safety criticality | High, Medium, Low. |  |

## 4.4 Sample Entries

| Device ID | Device type and manufacturer | Location and owner | Embedded OS and version | Patch support | Network segment | Remote vendor access | Clinical or safety criticality |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MED-IMG-002 | CT scanner workstation, Vendor B partner | Radiology, Riverside | Windows 10 IoT Enterprise LTSC | Quarterly certified patches | VLAN 310 medical imaging | Through CMC jump host | High |
| MED-LAB-011 | Chemistry analyzer, Vendor C partner | Laboratory, Riverside | Embedded Linux | Manufacturer updates on site | VLAN 320 laboratory devices | None | High |
| MED-INF-GW1 | Infusion pump gateway | Nursing, Riverside | Windows Server 2016 | Annual | VLAN 330 bedside devices | Through CMC jump host | High |
| OT-BMS-01 | Building management system controller | Facilities, Nonthaburi | Vendor firmware | On request | VLAN 400 building systems | Vendor VPN (to be replaced 2027) | Medium |

## 4.5 Register Change Log

Requirement: Track changes to the register itself (additions, closures, and periodic reviews) so reviewers can see how it evolved.

| No. | Date | Description of Change | Prepared By |
| --- | --- | --- | --- |
| 1 | 31 March 2026 | Q1 2026 review completed; entries updated and stale entries closed. | Facilities and Engineering Manager |
| 2 | 30 June 2026 | Q2 2026 review completed; new entries added from audit and incident follow-up. | Facilities and Engineering Manager |
| 3 | 30 September 2026 | Q3 2026 review completed; owners confirmed for all open entries. | Facilities and Engineering Manager |

# 5. Part B: Best Practice

Use passive network discovery tools designed for medical and OT devices; active scans can disrupt them.

Obtain the Manufacturer Disclosure Statement for Medical Device Security (MDS2) form for each medical device model.

Have biomedical engineering and IT co-own the inventory.

## Common Mistakes to Avoid

Biomedical engineering tracks devices for maintenance only, with no network or software data.

# 6. Annex: Traceability and Related Documents

| NIST CSF 2.0 Subcategories | ID.AM-01: Inventories of hardware managed by the organization are maintained ID.AM-02: Inventories of software, services, and systems managed by the organization are maintained ID.AM-05: Assets are prioritized based on classification, criticality, resources, and impact on the mission |
| --- | --- |
| ISO/IEC 27001:2022 | Annex A.5.9 |
| NIST SP 800-53 Rev. 5 | CM-8 |
| Legal, Regulatory, and Other References | NIST SP 800-82 Rev. 3; IEC 80001-1 |
| Parent Documents | ID-STD-001: Asset Management Standard |
| Child Documents | None |